## Slide 1
PROJECT PROPOSAL | SMART FACILITIES SA | GROUP C262T-4201 D01
AI Smart-Building Log Analysis
Reproducible anomaly detection for CU-BEMS data
Sources: Proposal cover and summary
1/10

## Slide 2
Why AI is useful here
Frequent logs create a review burden.
Operational scale
Frequent signals across floors and systems.
Context matters
Normal behaviour changes by time and location.
Decision support
Alerts need evidence for human review.
Sources: Proposal pp. 2-5
2/10
The project supports investigation; it does not automate control.

## Slide 3
CU-BEMS defines the research boundary
Representative data, not a live deployment.
7 floors
Minute-level records from a multi-floor academic office building.
18 months
The selected record spans July 2018 to December 2019.
6 signal groups
AC, lighting, plug load, temperature, humidity and illuminance.
Sources: Proposal pp. 2-5; Pipattanasomporn 2020
3/10
The dataset supports prototype research, but not every live-building scenario.

## Slide 4
Scope stays analytical
Prototype first, production later.
In scope
• Data audit and preparation.
• Feature engineering.
• Pattern and anomaly analysis.
• Visualisation and prioritisation.
Out of scope
• 24/7 production monitoring.
• Automated equipment control.
• New sensors or hardware.
• Confirmed incident validation.
This keeps the project feasible within ten teaching weeks.
Sources: Proposal pp. 5-6
4/10

## Slide 5
A reproducible pipeline links data to evidence
Five stages with audit trails.
Chart: 
| Import | Clean | Feature | Detect | Explain
Stage weight | 1 | 1 | 1 | 1 | 1
The pipeline is a research artifact, not only code.
Sources: Proposal pp. 2-6
5/10

## Slide 6
Methods compare clarity with pattern sensitivity
Advanced does not automatically mean better.
Method family | Use | Caution
Statistical baselines | Transparent benchmark | May be rigid
Unsupervised ML | Richer pattern detection | Needs tuning
TABLE INDEX
2 rows | Method family · Use · Caution
READOUT
The chosen method should be stable, useful and explainable.
Sources: Proposal pp. 4-6, 13
6/10

## Slide 7
Evaluation fits unlabeled anomaly data
Alerts are candidates, not confirmed faults.
01
Synthetic anomalies
Inject controlled signal changes.
02
Stability checks
Compare time, floor and zone subsets.
03
Alert volume
Tune thresholds for reviewable output.
Qualitative review
Inspect cases with operational context.
The evaluation asks whether alerts are consistent, explainable and reviewable.
Sources: Proposal pp. 2-4, 12-13
7/10

## Slide 8
The highest risks are knowable early
Audit first, then model.
Chart: 
| No labels | Data quality | Integration | False positives | Synthetic fit | Data volume | Stability | Scope
Probability (%) | 80 | 70 | 65 | 65 | 60 | 50 | 45 | 40
The main mitigation is earlier evidence and clearer limits.
Sources: Proposal p. 7
8/10

## Slide 9
Deliverables turn the prototype into evidence
Outputs are grouped for assessment.
Build artifacts · D1 pipeline, D2 patterns and D3 model comparison.
Interpretation artifacts · D4 visualisation and D5 prioritisation framework.
Handover artifacts · D6 technical report and D7 reproducible package.
Sources: Proposal pp. 12-13
9/10
Success depends on reproducibility, validity and interpretability.

## Slide 10
The 10-week plan reduces uncertainty
Data confidence comes before handover.
Chart: 
| Confirm | Prepare | Detect | Evaluate | Handover
Teaching weeks | 2 | 2 | 2 | 2 | 2
By Week 10, the team should explain what the prototype detects, how reliable it is, and where it should not be overused.
Sources: Proposal pp. 13-14
10/10