Artificial Intelligence for Smart-Building Log Analysis
Project PROPOSAL

Team Member Names:Huaye Qi, Yongli Jiang, Jiahao Wang, Meng Zhang, Zirui Geng

August 10, 2026

- Executive Summary

Smart Facilities SA collects operational logs from access-control devices, heating and cooling systems, environmental sensors, lifts, power-management systems and building-management servers. The project will develop and evaluate a reproducible artificial-intelligence and machine-learning pipeline that transforms these heterogeneous logs into operational patterns, anomaly indicators and visual evidence that can support facilities and security staff.

The proposed solution will cover data preparation, feature extraction, pattern discovery, anomaly detection, visualisation and evaluation. The technical approach will use Python as the primary implementation language, with open-source data-science and machine-learning libraries. Statistical baselines and multiple unsupervised anomaly-detection approaches will be compared so that the final recommendations are based on observed performance rather than a single algorithm. Where reliable incident labels exist, they will be used for quantitative validation; otherwise, evaluation will combine synthetic/known-event tests, stability analysis and structured expert review.

The main deliverables will be a documented log-analysis pipeline, reusable source code, exploratory and anomaly-analysis outputs, visualisations, an anomaly interpretation and prioritisation framework, and a final technical report with recommendations for future deployment. The planned duration is ten teaching weeks. The project is expected to require no mandatory software-licensing expenditure because the core tools are open source; an optional cloud-compute contingency of AUD 200 is budgeted only if local or organisational computing resources are insufficient. Student effort is estimated at approximately 400 hours in total and is shown separately as a hypothetical labour-value item.

Project Background and Description

Smart Facilities SA is the host organisation for this project. Its facilities-management environment produces logs from multiple smart-building subsystems, including access control, heating and cooling, environmental sensing, lifts, power management and building-management servers. These systems generate operational records that may contain recurring patterns as well as deviations caused by equipment faults, unusual usage, configuration issues or security-related events.

The project investigates whether artificial intelligence and machine-learning methods can distinguish normal operational behaviour from unusual behaviour and provide early indications of equipment or security problems. The emphasis is not only on detecting anomalies, but also on explaining them in a form that facilities or security staff can interpret and prioritise.

The project objectives are to:

Create a reproducible workflow for importing, cleaning, transforming and analysing heterogeneous smart-building logs.

Identify normal temporal, device-level and cross-system operational patterns.

Design and compare suitable anomaly-detection methods, including statistical baselines and machine-learning approaches.

Develop visualisations that communicate patterns, anomaly timing, affected systems and supporting evidence.

Evaluate the usefulness and limitations of the detection methods using available labels, known events, synthetic anomalies and/or structured expert assessment as appropriate.

Define a practical interpretation and prioritisation approach that helps facilities or security staff triage identified anomalies.

Expected organisational benefits include improved visibility of building operations, faster identification of unusual behaviour, better prioritisation of investigation effort, and evidence for deciding whether a more operational AI-assisted monitoring capability should be developed in the future.

Project Scope

Inclusions

The following aspects of the project are considered within scope:

Review and characterisation of the log data supplied or approved for the project, including fields, timestamps, event types, missingness, volume and quality constraints.

Data cleaning and preparation, including timestamp normalisation, duplicate handling, missing-value treatment, categorical standardisation and construction of analysis-ready event records.

Feature extraction at appropriate time, device and system levels, such as event counts, inter-event intervals, rolling statistics, categorical/event-code features and, where applicable, text-derived features.

Exploratory analysis and pattern discovery to identify recurring operating modes, temporal cycles, clusters and relationships between smart-building subsystems.

Development of statistical baseline anomaly rules and one or more machine-learning anomaly-detection approaches suitable for predominantly unlabeled log data.

Comparison and evaluation of candidate methods using technically appropriate metrics and qualitative review, depending on the availability of trustworthy ground truth.

Visualisation of normal patterns and detected anomalies, with sufficient contextual information to support investigation.

Development of an interpretation and prioritisation framework for facilities or security staff, including anomaly evidence, confidence/severity indicators and recommended triage considerations.

Documentation, source-code packaging and final presentation of findings, limitations and recommendations.

Exclusions

The following aspects of the potential project are explicitly out of scope unless later agreed through formal scope control:

Deployment of a production, 24/7 monitoring platform within live building-management infrastructure.

Direct control of physical building equipment or automated execution of security responses.

Replacement of existing building-management, access-control, security information or maintenance systems.

Procurement or installation of new sensors, controllers, networking equipment or other building hardware.

Long-term collection of new operational data beyond the project period.

Formal cybersecurity penetration testing, vulnerability exploitation or forensic investigation.

Guaranteeing prediction of all future equipment failures or security incidents; the project is an analytical investigation and prototype evaluation.

Risks

The most significant project risks arise from the quality and heterogeneity of operational logs, the possible absence of reliable anomaly labels, and restrictions associated with access to security-sensitive building data. These risks affect both model validity and schedule. The project will therefore use an early data audit, maintain baseline methods, document uncertainty explicitly and avoid dependence on any single modelling technique.

| Risk | Probability (out of 1.0) | Impact | Mitigation Strategy |
| --- | --- | --- | --- |
| Incomplete, inconsistent or noisy log data | 0.70 | High; may add 30-40 hours and reduce model reliability | Perform a data-quality audit in Weeks 1-2; define cleaning rules; quantify missingness; preserve raw-to-clean lineage; design features that tolerate partial records. |
| Delayed or restricted access to sensitive building/security logs | 0.50 | High; could delay analysis by up to 2 weeks | Confirm access, de-identification and storage requirements immediately; begin with approved samples/synthetic structures; separate the pipeline from specific identifiers. |
| Few or no trustworthy labels for true anomalies/incidents | 0.80 | High; limits conventional accuracy measurement | Use unsupervised methods; compare against statistical baselines; inject controlled synthetic anomalies where appropriate; validate representative findings with client/expert review and report uncertainty. |
| Heterogeneous schemas, clocks and event semantics across systems | 0.65 | Medium-High; may add 20-30 hours | Create a canonical event schema; normalise timestamps; document source-specific mappings; analyse each subsystem separately before cross-system integration. |
| Excessive false positives make results operationally unusable | 0.65 | High; reduces client value | Tune thresholds using validation periods; rank rather than merely flag anomalies; include context and persistence; compare alert volumes and prioritise anomalies by practical significance. |
| Model overfitting or unstable results across time/building systems | 0.45 | Medium-High; may invalidate conclusions | Use time-based holdout periods; compare multiple algorithms and seeds; conduct sensitivity analysis; prefer simpler methods when performance is similar. |
| Scope expansion or uneven team workload | 0.40 | Medium; could add 20-25 hours or delay milestones | Maintain a defined backlog and weekly milestone review; assign clear workstream owners; use code review and shared documentation; escalate scope changes to the mentor/client before implementation. |

Budget

The project is designed to minimise direct expenditure by using existing student/organisational computing resources and open-source software. Actual project expenditure and hypothetical labour-value estimates are separated below. Any optional expenditure will require client/mentor approval before commitment.

| Budget Item | Estimated Cost | Justification |
| --- | --- | --- |
| Python/R and open-source analytics libraries | AUD 0 (actual) | No licence fee is expected for the core programming, data preparation, visualisation and machine-learning toolchain. |
| Existing student/university/host computing resources | AUD 0 incremental (actual) | The project will use available laptops, university facilities or approved host resources where practical. |
| Secure project storage using approved existing services | AUD 0 incremental (actual) | Use organisation/university-approved storage already available to the project; no new storage purchase is assumed. |
| Optional cloud compute contingency | Up to AUD 200 (potential actual) | Only if local or approved existing resources are insufficient for selected experiments; expenditure is not assumed unless approved. |
| OpenAI Codex subscription | Up to AUD 300 (potential actual) | An optional OpenAI Codex subscription may be used to assist with Python coding, debugging and code review during development of the log-analysis pipeline. Expenditure is not assumed unless approved by the team and relevant project stakeholders. |
| Student project effort: 5 members x 8 h/week x 10 weeks = 400 h | AUD 16,000 (hypothetical) | Illustrative labour value at AUD 40/hour. This is not an expected cash cost to Smart Facilities SA. |
| Presentation / final handover materials | AUD 0-50 (potential actual) | Electronic delivery is preferred; small printing or presentation costs may arise only if required. |
| Estimated mandatory cash cost | AUD 0 | The planned project can be completed using open-source software and existing resources, subject to data-access and computing arrangements. |

Roles and Responsibilities

The allocation below gives each team member ownership of one major workstream while retaining shared responsibility for coding standards, review, integration and final quality. Because individual prior specialisations have not been supplied in the project brief, the initial allocation is based on balanced workload and the dependency flow of the project rather than assumptions about personal expertise. The team will confirm or adjust ownership after a Week 1 skills and availability review.

| Team Member | Primary Role / Focus | Responsibilities |
| --- | --- | --- |
| Huaye Qi (Qi) a1948935 | Anomaly-Detection Research | • Research anomaly-detection approaches that may be suitable for smart-building log analysis. • Compare several potential methods, including statistical and machine-learning approaches. • Investigate suitable Python or R tools and libraries for future implementation. • Summarise the advantages and limitations of the investigated methods. |
| Yongli Jiang (Lee) a1906489 | Smart-Building Log and Data Research | • Research common types of smart-building logs relevant to the project. • Investigate typical data fields and formats used in access-control, HVAC, sensor and power-management logs. • Identify potential data-quality issues such as missing values, inconsistent formats and timestamps. • Summarise the findings and possible data requirements for the team. |
| Jiahao Wang (Gavin) a1940040 | Requirements and Risk Analysis | • Identify information that is currently unclear or missing from the project description. • Prepare questions about the dataset, expected outputs and project requirements for discussion with the mentor/client. • Identify initial project risks that may affect project delivery. • Summarise the key questions and risks for the next team meeting. |
| Meng Zhang (Penelope) a1947217 | Project Scope and Deliverables | • Review the project description and identify the main project objectives. • Identify the expected project outcomes and deliverables. • Summarise the overall project scope and key stages of the proposed log-analysis pipeline. • Share the project scope summary with the team for discussion. |
| Zirui Geng (Roc) a1941715 | Project Schedule and Milestones | • Review the course roadmap and identify important project milestones and assessment deadlines. • Develop an initial project timeline covering planning, implementation, evaluation and final reporting. • Identify tasks that should be completed before the Proposal Report and Proposal Presentation. • Share the initial timeline with the team for review. |

Communications Plan

The following communication plan is proposed and should be confirmed with the client and mentor in Week 1:

| Stakeholder / Group | Purpose | Frequency | Method |
| --- | --- | --- | --- |
| Student team | Coordinate tasks, dependencies, code integration and risks | Weekly 45-60 minute meeting; asynchronous updates as needed | In-person/online meeting plus agreed group chat; shared repository and task board |
| Smart Facilities SA client representative | Confirm requirements, data semantics, operational relevance and decisions | Weekly or fortnightly 30-minute checkpoint, with additional questions consolidated asynchronously | Online/in-person meeting and email; concise agenda and action log |
| Project mentor | Review methodology, scope, risks and academic progress | Weekly or fortnightly checkpoint in line with course arrangements | Scheduled meeting and email; milestone artefacts shared before review |
| Facilities/security subject-matter staff, if nominated | Interpret system behaviour and assess whether anomaly outputs are actionable | Targeted sessions during Weeks 2, 7 and 9 or as agreed | Interview/workshop; structured examples and visualisations |
| Whole stakeholder group | Confirm milestone completion and final acceptance | Milestone reviews and final Week 10 presentation | Presentation/demo plus final report and handover package |

Project Stakeholders

| Name | Role | Interest in the project |
| --- | --- | --- |
| Smart Facilities SA client representative | Client / Sponsor | Receives project outputs; concerned with operational value, feasibility, risk, privacy, interpretability and whether the prototype supports future decision-making. |
| Facilities-management staff | Primary operational users | Need useful identification of abnormal building/equipment behaviour without excessive false positives or unexplained model outputs. |
| Security staff | Potential operational users | Interested in unusual access or system behaviour that may warrant security investigation; require clear context and prioritisation. |
| Maintenance / engineering staff | Subject-matter users | Interested in early indicators of equipment degradation, recurring faults and abnormal operating patterns that may support maintenance planning. |
| IT / data administrators | Data and system custodians | Concerned with secure data handling, access permissions, log schemas, system performance and reproducibility of data extraction/processing. |
| Wenhao Liang and Abhilash Sridhara | Academic stakeholder | Interested in appropriate methodology, project governance, evidence-based evaluation and achievement of project objectives. |
| Student project team | Delivery team | Responsible for completing the ten-week project, integrating technical workstreams and delivering a coherent, defensible outcome. |

Deliverables and Project Evaluation Criteria

The project will deliver the following items electronically to Smart Facilities SA, subject to agreed data-handling restrictions:

| Deliverable | Description | Evaluation Criteria |
| --- | --- | --- |
| D1. Data preparation and feature-engineering pipeline | Reusable Python scripts/notebooks that ingest approved logs, perform cleaning and schema normalisation, and generate documented analysis features. | Runs reproducibly on the agreed sample/approved dataset; key transformations and assumptions are documented; data-quality issues are quantified. |
| D2. Exploratory pattern analysis | Analysis of temporal behaviour, subsystem/device patterns, event frequencies and other recurring operating modes relevant to the available logs. | Identifies understandable normal patterns and provides evidence that supports subsequent anomaly modelling. |
| D3. Anomaly-detection model comparison | At least one statistical baseline and multiple suitable machine-learning anomaly-detection approaches with documented configuration and comparison. | Methods are evaluated consistently; false-positive burden, stability and limitations are reported; selected method(s) are justified by evidence. |
| D4. Visualisation package | Plots/dashboard-style views or notebooks showing normal patterns, anomaly timing, affected systems and contextual evidence. | A reviewer can locate and understand representative anomalies without reading raw logs; visual outputs are legible and linked to the underlying evidence. |
| D5. Interpretation and prioritisation framework | A practical structure for explaining detected anomalies and ranking investigation priority based on available evidence such as magnitude, persistence, recurrence, subsystem context and confidence. | Facilities/security reviewers can distinguish higher-priority from lower-priority findings and understand why an anomaly was surfaced. |
| D6. Final technical report and recommendations | Report covering data, methodology, experiments, results, limitations, privacy/security considerations and recommended next steps for operationalisation. | Conclusions are traceable to analysis results; limitations are explicit; recommendations distinguish prototype findings from production requirements. |
| D7. Reproducible handover package and presentation | Source code, environment/dependency information, README/run instructions, selected outputs and final presentation/demo. | Another technically capable reviewer can understand the project structure and reproduce the agreed analysis with access to the same approved data. |

Project success will be judged primarily by reproducibility, technical validity, usefulness of anomaly prioritisation, interpretability of outputs, and the quality of evidence supporting conclusions. If labelled incidents are available, quantitative metrics such as precision, recall, F1 score and/or precision-recall curves will be included as appropriate. If labels are unavailable or incomplete, those metrics will not be presented as definitive; evaluation will instead rely on controlled test cases, stability/consistency checks, alert-volume analysis and structured stakeholder review.

Implementation Plan

1. Requirements and data-access confirmation (Week 1, Milestone M1): confirm client objectives, stakeholders, permitted data, security/privacy constraints, success criteria and technical environment. Establish repository, task board and reproducibility conventions.

2. Data audit and canonical schema (Weeks 1-2, M2): profile log sources, timestamps, fields, event types, volumes and missingness. Define a common event representation and document source-specific mappings.

3. Data preparation pipeline (Weeks 2-3, M3): implement ingestion, cleaning, time normalisation, deduplication and validation checks. Produce an analysis-ready dataset or reproducible transformation process.

4. Feature engineering and exploratory pattern discovery (Weeks 3-4, M4): create temporal, event-frequency, categorical and system-level features; inspect cycles, correlations, clusters and recurring operating modes.

5. Baseline anomaly detection (Weeks 4-5, M5): implement interpretable statistical baselines such as threshold, z-score/robust score or rolling-deviation approaches to establish reference performance and alert volumes.

6. Machine-learning anomaly modelling (Weeks 5-6, M6): implement and compare suitable unsupervised methods such as Isolation Forest, Local Outlier Factor and/or other justified techniques. More complex methods will only be added if data volume and structure support them.

7. Evaluation, tuning and robustness analysis (Weeks 6-7, M7): use labelled incidents where available; otherwise apply controlled synthetic/known-event tests, time-based validation, stability checks and representative expert review. Tune thresholds with attention to false-positive burden.

8. Visualisation and anomaly prioritisation (Weeks 7-8, M8): design anomaly timelines, summaries and supporting context. Develop a ranking framework using available evidence such as anomaly magnitude, duration/persistence, recurrence, subsystem context and confidence.

9. Integrated prototype review (Week 9, M9): run the end-to-end pipeline, review representative outputs with stakeholders, capture feedback and correct high-priority technical or usability issues.

10. Finalisation and handover (Week 10, M10): freeze reproducible code, complete documentation and report, prepare final presentation/demo, record limitations and provide recommendations for future production deployment.

Project Schedule

The schedule below runs from Monday of Week 1 through Friday of Week 10, as required by the template. Milestones correspond to the implementation plan above.

Milestone checkpoints: M1 requirements/access confirmed; M2 data/schema audit complete; M3 preprocessing pipeline ready; M4 feature set and patterns documented; M5 baseline results; M6 ML models implemented; M7 evaluation complete; M8 visual/prioritisation prototype; M9 stakeholder review complete; M10 final handover.

Approval

We approve the project as described above.

| Name | Role (e.g. student, client, mentor) | Signature | Date |
| --- | --- | --- | --- |
| Huaye Qi (Qi) | Student |  |  |
| Yongli Jiang (Lee) | Student |  |  |
| Jiahao Wang (Gavin) | Student |  |  |
| Meng Zhang (Penelope) | Student |  |  |
| Zirui Geng (Roc) | Student |  |  |
| [Client representative name] | Client |  |  |
| Wenhao Liang and Abhilash Sridhara | Mentor |  |  |