MEETING MINUTES

Project: Artificial Intelligence for Smart-Building Log Analysis
Group: C262T-4201 | Ticket: D01
Date: 12/09/2026
Participants: Qi, Lee, Gavin, Penelope and Roc

Discussion

The team discussed the following project updates:

- Baseline v1 Development - The statistical baseline anomaly detection workflow was completed for Floor 6 Zones 1, 2, 4 and 5. The v1 baseline used the cleaned and 15-minute smoothed dataset, grouped by zone, day type, hour and variable. Median, MAD, p95 and p99 were calculated, and robust z-score plus zero-aware rules were used to detect anomalies. This version identified 76,773 anomaly points and 940 anomaly events.

- Baseline v2a Comparison - A second baseline version was created using zone, day type, 15-minute time slot and variable as the grouping structure. This tested whether a finer time resolution could better capture intra-hour operational changes. The v2a baseline identified 84,116 anomaly points and 1,248 anomaly events.

- Baseline v2b Comparison - A third baseline version retained the hourly grouping but added operation-aware thresholds, variable-type-specific rules, dynamic persistence requirements and severity ranking. This version was designed to reduce low-priority false positives and identified 48,219 anomaly points and 281 anomaly events.

- Baseline Comparison Notebook - A separate comparison notebook was created to compare the three baseline methods. The analysis includes anomaly points, anomaly events, variable-level distribution, zone-level distribution, operating-period distribution and overlap between detected anomaly points.

- Next Modelling Stage - The team discussed moving from statistical baseline analysis to unsupervised machine learning anomaly detection in the next stage. Candidate models include Isolation Forest and Local Outlier Factor, with model outputs to be compared against the statistical baseline results.

Decisions

- The v1 hourly baseline will be kept as the primary interpretable statistical baseline.

- The v2a 15-minute slot baseline and v2b operation-aware threshold baseline will be used as comparison and sensitivity-analysis versions.

- Anomaly events will be prioritised over raw anomaly points when reporting results, because events are easier to interpret and review.

- The next stage will focus on unsupervised machine learning anomaly detection using the baseline-ready dataset.

Contribution Part

| Owner | Action | Status |
| --- | --- | --- |
| Qi | Review the baseline methodology and support the selection of machine learning anomaly-detection models | In Progress |
| Lee | Review the baseline outputs and support comparison between statistical and machine learning approaches | In Progress |
| Gavin | Develop the v1, v2a and v2b statistical baseline notebooks, generate comparison figures and prepare baseline result summaries | Done |
| Penelope | Review the baseline comparison outputs and support reporting of anomaly detection results | In Progress |
| Roc | Review the visualisations and support documentation for the baseline comparison stage | In Progress |

Next Steps

Create a new machine learning anomaly detection notebook using the baseline-ready dataset.

Implement unsupervised models such as Isolation Forest and Local Outlier Factor.

Use all relevant variables, including power, lighting, plug load, temperature, humidity, lux, zone and time-based features.

Generate model anomaly scores and compare the detected anomalies with the statistical baseline results.

Prepare summary tables and visualisations for model performance, anomaly overlap and representative anomaly cases.